## Tile_Calculator
TILE PATTERN & MATERIAL ESTIMATOR
1. ROOM DIMENSIONS (Imperial)
Room Length (ft): | 15
Room Width (ft): | 12
TOTAL ROOM AREA (sq ft): | 180
2. TILE & GROUT SPECIFICATIONS
Tile Length (inches): | 24
Tile Width (inches): | 12
Grout Joint Size (inches): | 0.125
Effective Tile Area (sq ft): | 2.0314
3. INSTALLATION SETTINGS & WASTE
Layout Pattern: | Brick / Staggered | <- Tip: Diagonal & Herringbone require 15-20% waste!
Waste Factor / Overage: | 15%
Tiles per Box: | 8
Cost per Box ($): | 35.5
4. FINAL MATERIAL ESTIMATE
Net Tiles Required (No Waste): | 89
Total Tiles Needed (+ Waste): | 103
TOTAL BOXES TO ORDER: | 13
ESTIMATED MATERIAL COST: | 461.5